## Revision key (hidden)
Version # | Release Date | Comments
18.1 | 2018-06-11 | Created initial commercial new construction rebate application starting with the previous (combined) rebate application v18.5
moved new construction lighting from custom to its own tab
delete irrelevant (retrofit) rebates throughout
updated notes to be more relevant
deleted rebates for elements that are required by code, updated notes for others
18.2 | 2018-07-02 | Fixed issue preventing export of utility savings data (there were two version of each named reference for the previous sheet 10, causing a reference error)
Fixed issue with weighted measure life and NTG ratios on page 2 (using non-existent named cell)
19.1 | 2018-12-19 | Fixed print setup on pages 2 & 6
put missing border back on office/appliance page
Fixed lighting calculation issue (rebate was trying calculate a bonus, which doesn't exist)
changed DBA/legal business name verbiage (similar to retrofit program)
19.2 | 2019-03-04 | Fixed issue where contractor phone number wasn't exporting
Updated Lighting requirements per new code (IECC 2018)
20.1 | 2020-06-01 | Corrected measure life export for cooling tab (was looking at envelope)
Corrected export for envelope summing component areas
Updated VFD requirements to new code (IECC 2018)
Updated Terms and Conditions to new verbage and format
made demand savings on lighting page not summer peak coincident (to remain consistent throughout)
20.2 | 2020-10-13 | Adjusted electric rates to match retrofit rebate application
Hid custom rebates. Link to iEnergy application instead.
20.3 | 2020-11-20 | Removed Advanced RTU controller rebate since DCV and integrated economizers are code required, and VFDs are code required for RTUs >=5.4 tons
Revised note on VFD page to remove VFD rebates for RTU supply fans since they are nearly all required, and savings are likely otherwise accounted for in the midstream cooling program
21.1 | 2021-01-15 | Fixed tier 1 window requirements to match retrofit program
todo | todo | Make page 2 formatting consistent with other pages add lighting rule that 80%+ of new fixtures must be intergrated LED (not lamps, etc.) change lighting rebate back to watt's reduced, so it isn't dependent on hours??? change list of final submitted materials from invoices to invoices, submittals, shop drawings, final construction set, bids, etc. make page 2 able to be calculated by hand (when printed)?

## Inputs (hidden)
Application for Pre-approval Received |  | This is the date that the final piece of correct paperwork was received to begin processing the preapproval application
Preapproval Date |  | If this project does not have a pre-approval, fill this in as the final approval date.
When did this project receive a pre-inspection? |  | If applicable, leave blank if no inspection.
Completion Date | 0 | When reviewing a final application, update this date on Page 1 of the application to the date that the last piece of paperwork was received.
When did this project receive a final inspection? |  | If applicable, leave blank if no inspection.
Paid Date | 1900-01-05 | This is the date the check should be sent on. Initially this calculates based on the completion date.
Who is their energy advisor? |  | If applicable
Who preapproved the project?
Who completed the pre-inspection? |  | If applicable
Who approved the final application? |  | Don't fill this out until the time of final application.
Who completed the final inspection? |  | If applicable
Summer Peak Coincidence (%) |  | Estimated peak coincidence. See table below for typical values.
Winter (%) |  | Estimated peak coincidence. See table below for typical values.
Project Name |  | Assign a project name that includes customer name, type of project, potentially building name, city, etc.
Electric Utility | 0 | This reads what is entered on Page 1
Potential Rebate ($) | 0 | What the rebate would be if there were no caps, etc.
Allow Bonus? | No | Leave as "Yes" unless lighting bonus isn't allowable (for example, if the completion date is too late)
Waive Cap? | No | Leave as "No" unless otherwise directed by city staff.
EOC Project? | No | Should be 'No' on all business applications. EOC needs to use their own.
City Directive Funding, Bonus ($) | 0 | 25% bonus on lighting fixtures
City Directive Funding, Water ($) | 0 | All water rebates are directive
City Directive Funding, Cap ($) | 0 | Any water rebates, any rebate approved above the cap, possibly things that are exceptions to the rules, etc.
City Directive Funding, EOC ($) | 0
City Directive Funding, TOTAL ($) | 0
Total Rebate ($) | 0 | The calculated rebate, bounded by caps.
Preapproval Code |  | mmddyy-nnn, or "Not Preapproved-nnn", or "Under $1,000-nnn" if the project wasn't preapproved.
Project Number | Not Preapproved | This cell should calculate automatically
Project Status |  | Committed-project is preapproved. Paid-final application is approved, ready to be paid. Cancelled-project cancelled per customer/contractor request, or due to nonresponsiveness
Payee | 0 | This cell should calculate automatically
Site Cap | 0 | This calculates the site cap based on the city.
Customer Cap (all sites) | 0 | This calculates the customer cap based on the city.
Previous rebates committed/paid (site)? |  | Look up previous projects for this customer site, and put the total number in here (committed and paid), otherwise $0
Previous rebates committed/paid (all sites)? |  | Look up previous projects for this customer (all sites), and put the total number in here (committed and paid), or $0
Site eligible rebates | 0 | This calculates remaining eligible rebates for this site.
Customer (all sites) eligible rebates | 0 | This calculates remaining eligible rebates for this customer for all sites.
Line Losses
This Project | 0%
Town of Estes Park Light & Power | 4.76%
Fort Collins Utilities | 2.78%
Longmont Power & Communications | 3.8%
Loveland Water and Power | 4%
Rates ($/kWH) |  | Business | Multifamily
Fort Collins Utilities | 0.07804 | 0.07804 | 0.0875
Longmont Power & Communications | 0.07741 | 0.07741 | 0.08
Loveland Water and Power | 0.08221 | 0.08221 | 0.1053
Town of Estes Park Light & Power | 0.11413 | 0.11413 | 0.1141
Average Electricity Cost | 0.07741 | 0.077 | 0.09 |  | Make ElectricityCost a lookup based on city (and/or?), operating hours/year. Maybe similar to 16.7 and/or EEP era calc where energy vs. demand use were defined per measure.
Other
Application Version | 21.1
Application Name | Business New Construction Rebate Application
Peak Coincidences
Project Type | Building/Type | Typical Hours | Summer (%) | Winter (%)
Lighting | Office | 8am-6pm | 75% | 25%
| Auto | 7am-6pm | 75% | 50%
| Retail | 9am-8pm | 100% | 100%
| Restaurant | 7am-9pm | 100% | 100%
| Industrial | 6am-10pm | 100% | 100%
| Church | 10am-5pm | 25% | 10%
| School | 7am-4pm | 0% | 25%
| University | 6am-9pm | 100% | 75%
| Outdoor | Dusk to Dawn | 0% | 90%
VFD |  |  | 25% | 25%
HVAC |  |  | 100% | 0%
Food Service |  |  | 0% | 0%
Office |  |  | 0% | 0%
Grocery |  |  | 75% | 75%
Envelope |  |  | 100% | 0%
Instructions for Converting Business Application to Multifamily
Change ApplicationName (Inputs Tab, C56) from 'Business' to 'Multifamily'
Change 'Company Name' (Page 1, ) to 'Community Name'
Change 'DBA' (Page 1, ) to 'Property Manager/HOA Name'
Change Facility Type to Residential
Change kWh, kW savings on Envelope page (each measure has the MF savings in the notes in the respective cells)
Unhide unit addresses on page 1
Note on C41: zipperera: Per Randy Reuscher, 9/13/16
Note on D50: zipperera: This will look up the simple kWh per city from above. If no city is selected (on page 1), it defaults to $0.077/kWh)
Note on D63: And Sundays
Note on D64: non summer
Note on B71: Depends on measure. ASH controls and cooler lights will be higher than others

## Export (hidden)
Project Information |  | Participating Companies, Site | [6 empty] | Dates and Dollars | [7 empty] | Total Savings | [6 empty] | Utility Information | [8 empty] | Participant Contact |  |  |  |  | Contractor Contact |  |  |  |  | Payee | [7 empty] | Date Details |  |  |  | Building Details | [5 empty] | Lighting Measures | [8 empty] | Cooling Measures | [8 empty] | Envelope Measures | [8 empty] | Food Service Measures | [8 empty] | Grocery Measures | [8 empty] | IT & Office Measures | [8 empty] | VFD Measures | [8 empty] | Water Measures | [8 empty] | Custom Measures
Project Number | Project Name | Company Name | Customer DBA | Site Street Address | Site City, State Zip | Electric Utility | Water Utility | Contractor Company Name | Approval Code | Application Date | Completion Date | Payment Date | Total Incentive | City Incentive Amount | PRPA Incentive Amount | Rebate Status | Customer Demand Reduction (kW) | Customer Energy Savings (kWh/year) | Customer Water Savings (gal/year) | Customer Operational Savings ($/year) | Installed Cost ($) | Cost After Incentive ($) | Simple Payback (years) | Net-to-Gross (NTG) Ratio, Weighted | Project Life (Weighted Measure Lives) | Summer Peak Coincidence | Winter Peak Coincidence | Utility Demand Reduction, Total (kW) | Utility Demand Reduction, Summer (kW) | Utility Demand Reduction, Winter (kW) | Utility Energy Savings (kWh/year) | CCE ($/kWhUTILITY) | Contact Name | Phone Number | Email Address | Participant Mailing Street Address | Participant Mailing City, State Zip | Contact Name | Phone Number | Email Address | Contractor Mailing Street Address | Contractor Mailing City, State Zip | Payee (Entity) | Company Name | Mailing Street Address | Mailing City, State Zip | Contact Name | Phone Number | Email Address | Notes | Month Committed | Year Commited | Month Completed | Year Completed | Facility Type | Operating Hours/year | Building SF | Project SF | Year built | Year renovated | Energy Savings (kWh/year) | Demand Savings (kW) | Lighting Bonus ($) | Customer Operational Savings ($/year) | Project Cost | Potential Rebate | NTG | Weighted Measure Life | Other: NOT USED | Energy Savings (kWh/year) | Demand Savings (kW) | Water Savings (gal/year) | Customer Operational Savings ($/year) | Project Cost | Potential Rebate | NTG | Weighted Measure Life | Other: Number of installed units and/or controllers | Energy Savings (kWh/year) | Demand Savings (kW) | Water Savings (gal/year) | Customer Operational Savings ($/year) | Project Cost | Potential Rebate | NTG | Weighted Measure Life | Other: Total SF of Envelop Improved | Energy Savings (kWh/year) | Demand Savings (kW) | Water Savings (gal/year) | Customer Operational Savings ($/year) | Project Cost | Potential Rebate | NTG | Weighted Measure Life | Other: Number of Units | Energy Savings (kWh/year) | Demand Savings (kW) | Water Savings (gal/year) | Customer Operational Savings ($/year) | Project Cost | Potential Rebate | NTG | Weighted Measure Life | Other: NOT USED | Energy Savings (kWh/year) | Demand Savings (kW) | Water Savings (gal/year) | Customer Operational Savings ($/year) | Project Cost | Potential Rebate | NTG | Weighted Measure Life | Other: Number of Units | Energy Savings (kWh/year) | Demand Savings (kW) | Water Savings (gal/year) | Customer Operational Savings ($/year) | Project Cost | Potential Rebate | NTG | Weighted Measure Life | Other: Number of Controlled Motors | Energy Savings (kWh/year) | Demand Savings (kW) | Water Savings (gal/year) | Customer Operational Savings ($/year) | Project Cost | Potential Rebate | NTG | Weighted Measure Life | Other: Therm Savings (per year) | Energy Savings (kWh/year) | Demand Savings (kW) | Water Savings (gal/year) | Customer Operational Savings ($/year) | Project Cost | Potential Rebate | NTG | Weighted Measure Life | Other: NOT USED | Who preapproved? | Who approved final? | Who pre-inspected? | Who inspected final? | Application Version
Not Preapproved | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1900-01-05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0% | 0% | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0 | 1 | 1900 | 1 | 1900 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.85 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0 | 0 | 0 | 0 | 21.1
Note on BV2: Include on every measure category for future flexibility
Note on CE2: Include on every measure category for future flexibility
Note on CN2: Include on every measure category for future flexibility
Note on CW2: Include on every measure category for future flexibility
Note on DF2: Include on every measure category for future flexibility
Note on DO2: Include on every measure category for future flexibility

## Instructions
Business New Construction Rebate Application 21.1
Effective January 15th, 2021 until further notice.
Participant Acknowledgement of Terms and Conditions
By submitting this application, I hereby acknowledge that I have read, understand and agree to be bound by all requirements, terms, and conditions of the Efficiency Works Program including, but not limited to, the Terms and Conditions set forth on page 12, Request for Payment Form.
How to participate
Project preapproval
How to use this application
Need help?
For more information or help filling out the application, call 970-229-4823 or email business@efficiencyworks.org
1. Determine project eligibility. The project site must be a commercial electric customer of Town of Estes Park Light & Power Department, Fort Collins Utilities, Longmont Power & Communications, or Loveland Water and Power. For water rebates, the customer must be a water customer of Fort Collins Utilities (water rebates are not available in other cities)
2. Incentive funds are subject to change without notice. Check the announcements on efficiencyworks.org for recent program changes, or contact Efficiency Works for more information.
3. Download the most recent version of this application from efficiencyworks.org
i. This rebate application is designed to be used in the most recent two versions of Microsoft Excel (Windows or Mac). If you use another spreadsheet application (e.g. Google Docs, Apple Numbers, OpenOffice, LibreOffice), the application may not work correctly.
4. Contact a contractor, consultant, utility representative, or Efficiency Works for help with this application if needed.
5. Apply for preapproval (see requirements below).
6. Complete the project, following program requirements and applicable building and land use codes. Submit all of the materials listed on page 12, after which your rebate check will be mailed within 6 weeks.
1. This application workbook has tabs/pages/worksheets listed at the bottom for each type of rebate (e.g. lighting, grocery, envelope, etc.).
2. Enter the customer information and general project information on Page 1.
3. Fill out the rebate page for each type of project you are doing. Click on the worksheet tabs below (for example, lighting retrofits are on Page 2).
4. Determine the total project incentive, and enter the project cost information on Page 11.
5. Note that grey cells are calculations and usually can not be overridden. Cells below a blue header need to be filled in. Anything red must be filled in before the worksheet can calculate correctly.
1. Apply for pre-approval prior to starting construction
i. Pre-approvals are required for all new construction and major renovation projects.
ii. Total potential incentive listed on Page 11 must be a minimum of $50 to qualify
iii. Submit the following materials via email to business@efficiencyworks.org
◦ This Microsoft Excel spreadsheet application file
◦ The design plans, including equipment schedules showing manufacturer names, part numbers, and quantities
iv. Efficiency Works will review the application, and, if approved, issue an approval code.
2. Energy advising is required for any customer receiving more than $10,000 in incentives in a calendar year.
3. Some projects will be randomly selected for pre-inspections prior to installation of new equipment.
4. Funds are only reserved 45 days past estimated project completion date.

## 1-General Info
Company Name:
|  |  | Project Number: | Not Preapproved
Business New Construction Rebate Application 21.1
Page 1 - General Customer and Project Information
Instructions: Fill out this page with the utility customer information. Fields marked with a red asterisk (*) are required.
Participant Information (Utility Customer)
Business Name* |  |  | Legal Business Name (if different)
Contact Person* |  |  | Title*
Site Address* |  |  | Mailing Address*
City, State, Zip* |  |  | City, State, Zip*
Telephone* |  |  | Email
Party Completing Form, if different from participant above (e.g. contractor, property manager, energy advisor)
Company Name* |  |  | Contact Person*
Mailing Address* |  |  | Telephone*
City, State, Zip* |  |  | Email
Incentive Payment Recipient
Entity* |  |  | Contact Person*
Company Name* |  |  | Telephone*
Mailing Address* |  |  | Email
City, State, Zip* |  |  | Notes/Comments
Project Site Information
Electric Utility* |  |  | Facility Type*
Water Utility (if applying for water rebates)* |  |  | Other (describe)
Operating hours per year* |  |  | Project Type*
Operating hours (description) |  |  | Year Built | Year Remodeled
|  |  | Building (sq ft) | Project (sq ft)
Project Schedule
Start Date |  |  | Completion Date*
Affected Buildings and Units
Building Designation |  | Building Address |  | Unit Number(s)
* For the purposes of the Efficiency Works program, a major renovation includes at least three of the five criteria below:
(1) The business is undertaking the project primarily due to a change in the use of the space, which requires changes to the lighting or HVAC systems. For example, warehouse space is being converted to office space.
(2) The space being renovated will be unoccupied for 30 days or more.
(3) Existing light fixtures are being removed and a totally new light scheme with rewiring as the result.
(4) The project requires a construction permit.
(5) First time install of electric operated equipment in which higher efficient models are available.
Select your local utility
Fort Collins Utilities | Fort Collins
Longmont Power & Communications | Longmont
Loveland Water and Power | Loveland
Town of Estes Park Light & Power | Estes Park
Select facility type
Education
Entertainment
Financial
Food Sales
Food Service
Health Care
Lodging
Manufacturing
Mixed Use
Office
Parking
Public Service
Religious
Residential (Multifamily)
Retail
Service
Storage
Tech/Science
Utility
Other (describe)
Yes
No
Select your project type
New construction
Major remodel

## 2-Lighting
Company Name:
[10 empty] | Project Number: | Not Preapproved
Business New Construction Rebate Application 21.1
Page 2 - Lighting
Instructions: Fill out the customer and general project information on page 1 of this application. Use the information from your project's interior lighting COMCheck in the calculator below (exterior lighting is not eligible for incentives). To qualify for rebates, the lighting design must beat code by at least 10%. 1. Enter as few spaces as possible that adequately describes the facility. See Table 1 below for complete list of space types. 2. Make sure the entire building is accounted for in the Floor Area square feet section. 3. ASHRAE Lighting Power Density (LPD) determined from Table 1 below. 4. LED fixtures must be on the Design Lights Consortium Qualified Products List or Energy Star rated to qualify (provide a schedule of lighting fixtures). 5. Energy Incentive is $0.10 per annual kWh saved. Contact Efficiency Works if you have questions or need assistance. Enter your project cost on page 11 of this application, and to see the total estimated rebate.
Lighting location (e.g. 'whole building', '1st and 2nd Floors', 'South Wing'): | [5 empty] | Enter a description of the lighting location here
[5 empty] | Baseline Condition |  | Upgraded Lighting |  | Savings
Area Category | Floor Area (square feet) | Allowed Watts | Annual Hours | Designed Watts | Demand (kW) | Annual Electricity Usage (kWh) | Demand (kW) | Annual Electricity Usage (kWh) | Demand Reduction (kW) | Annual Electricity Savings (kWh) | Annual Electricity Cost Savings ($) | Total Potential Incentive | Allowed LPD | Designed LPD | Peak Coincidence | NTG Ratio | NTG Ratio, Weighted | Measure Life | Measure Life, Weighted
[16 empty] | 0.85 |  | 15
[16 empty] | 0.85 |  | 15
[16 empty] | 0.85 |  | 15
[16 empty] | 0.85 |  | 15
[16 empty] | 0.85 |  | 15
[16 empty] | 0.85 |  | 15
|  |  |  | TOTAL: | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 |  | 0
Table 1: ASHRAE 90.1 - 2016 Lighting Power Densities Using the Building Area Method (Taken from Table 9.5.1 of the ASHRAE standard.)
Building Area Typee | (W/ft2) | Building Area Typee |  |  | (W/ft2) | Building Area Typee |  |  | (W/ft2)
Automotive Facility | 0.71 | Hospital |  |  | 1.05 | Police Station |  |  | 0.8
Convention Center | 0.76 | Hotel/motel |  |  | 0.75 | Post Office |  |  | 0.67
Court House | 0.9 | Library |  |  | 0.78 | Religious Building |  |  | 0.94
Dining: Bar Lounge/Leisure | 0.9 | Manufacturing Facility |  |  | 0.9 | Retail |  |  | 1.06
Dining: Cafeteria/Fast Food | 0.79 | Motion Picture Theater |  |  | 0.83 | School/university |  |  | 0.81
Dining: Family | 0.78 | Multifamily |  |  | 0.68 | Sports Arena |  |  | 0.87
Dormitory | 0.61 | Museum |  |  | 1.06 | Town Hall |  |  | 0.8
Exercise Center | 0.65 | Office |  |  | 0.79 | Transportation |  |  | 0.61
Fire Station | 0.53 | Parking Garage |  |  | 0.15 | Warehouse |  |  | 0.48
Gymnasium | 0.68 | Penitentiary |  |  | 0.75 | Workshop |  |  | 0.9
Health Care-Clinic | 0.82 | Performing Arts Theater |  |  | 1.18
e In cases where both general building area type and a specific building area type are listed, the specific building area type shall apply.
ASHRAE 90.1 - 2016 Table 9.5.1 Lighting Power Densities Using the Building Area Method
| Building Area Typea | LPD (W/ft2) | Summer Peak Coincidence
| Automotive Facility | 0.71 | 0.75
| Convention Center | 0.76 | 0.5
| Court House | 0.9 | 0.5
| Dining: Bar Lounge/Leisure | 0.9 | 1
| Dining: Cafeteria/Fast Food | 0.79 | 1
| Dining: Family | 0.78 | 1
| Dormitory | 0.61 | 0.1
| Exercise Center | 0.65 | 1
| Fire Station | 0.53 | 1
| Gymnasium | 0.68 | 0
| Health Care-Clinic | 0.82 | 0.75
| Hospital | 1.05 | 1
| Hotel/motel | 0.75 | 0.1
| Library | 0.78 | 0.75
| Manufacturing Facility | 0.9 | 1
| Motion Picture Theater | 0.83 | 0
| Multifamily | 0.68 | 0.1
| Museum | 1.06 | 0.75
| Office | 0.79 | 0.75
| Parking Garage | 0.15 | 0
| Penitentiary | 0.75 | 1
| Performing Arts Theater | 1.18 | 0.3
| Police Station | 0.8 | 1
| Post Office | 0.67 | 0.5
| Religious Building | 0.94 | 0.25
| Retail | 1.06 | 1
| School/university | 0.81 | 0
| Sports Arena | 0.87 | 0.6
| Town Hall | 0.8 | 0.75
| Transportation | 0.61 | 0.5
| Warehouse | 0.48 | 1
| Workshop | 0.9 | 0.75
An additional cap of $50,000 per customer, per year may also be applied to ensure the program budget is distributed among several customers and to reduce risk that a significant portion of the program's funds fail to be used if the project is not completed. This cap may be waived at Platte River's discretion, pending availability of funds. Contact Platte River Energy Services for more information.
An additional cap of $50,000 per customer, per year may also be applied to ensure the program budget is distributed among several customers and to reduce risk that a significant portion of the program's funds fail to be used if the project is not completed. This cap may be waived at Platte River's or Fort Collins Utilities' discretion, pending availability of funds. Contact Platte River Energy Services or your utility rep for more information.

## 3-Cooling
Company Name:
[7 empty] | Project Number: | Not Preapproved
Business New Construction Rebate Application 21.1
Page 3 - Cooling
Instructions: Fill out the customer and general project information on page 1 of this application. See the rebate amount and product requirements at the bottom of this page to confirm product eligibility. Enter your project cost on page 11 of this application, and to see the total estimated rebate.
[13 empty] | Per Unit |  |  | Total
Item # | Measure |  | Incentive | Capacity per unit (tons or cfm) | Number of Units | Total Incentive | Energy Savings (kWh/year) |  | Electric Cost Savings ($/year) |  | Total tons/CFM | Savings units | Energy Savings (kWh/year) | Demand Reduction (kW) | Electric Cost Savings ($/year) | Energy Savings (kWh/year) | Demand Reduction (kW) | Electric Cost Savings ($/year) | NTG Ratio | NTG Ratio, Weighted | Measure Life | Measure Life, Weighted
1 | [10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | [10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | [10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | [10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | [10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | [10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | [10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | [10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | [10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | [10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | [10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | [10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | [10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | [10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | [10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | [10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | [10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | [10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | [10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | Total | 0 | 0 |  | 0 | [6 empty] | 0 | 0 | 0 |  | 0 |  | 0
Measure |  | Description | [5 empty] | Incentive |  |  | kWh | per unit | kW | per unit | $ | per unit
Evaporative Condensing |  | Pre-cools the air entering the condenser of a rooftop unit or air-cooled chiller with mist or an evaporative media. In the unlikely event that the evaporative equipment damages a condenser or part of a condenser and the condenser or part is less than 15 years old, the manufacturer shall replace the condenser or damaged part of the condenser AND pay for the cost of the study to determine the cause of failure. | [5 empty] | 100 | per ton |  | 240 | per ton | 0.35 | per ton | 26.09 | per ton | 0.85 | 15
Advanced Evaporative Cooling |  | Direct, Direct/Indirect, or Indirect evaporative coolers. Continuous water 'bleed' systems for sediment control DO NOT qualify. Must guarantee air quality against bacteria, mold, and etc. And must either include a maintenance plan or teach the operator the proper winterization, startup, and maintenance. | [5 empty] | 0.2 | per cfm |  | 0.3 | per cfm | 0 | per cfm | 0.023223 | per cfm | 0.85 | 15
Advanced RTU Controller |  | After market controllers that utilize variable supply fan control combines with integrated economizer and demand ventilation controls. Controllers are not eligible if economizers, VFDs, and/or DCV is code-required for the application. Common brand and manufacturers of the advanced RTU controllers are: Catalyst by Transformative Wave, Digi-Rtu by Bes-Tech, and Enerfit by Enerfit, LLC. Other controllers may qualify that are not listed. | [5 empty] | 2000 | per unit |  | 1800 | per ton | 0 | per ton | 139.338 | per ton | 0.85 | 10
Note on H11: For evaporative condensing, enter the cooling capacity in tons. For advanced evaporative cooling, enter the cooling capacity in CFM.

## 4-Envelope
Company Name:
[6 empty] | Project Number: | Not Preapproved
Business New Construction Rebate Application 21.1
Page 4 - Building Envelope
Instructions: Fill out the customer and general project information on page 1 of this application. See the rebate amount and product requirements at the bottom of this page to confirm product eligibility. Enter your project cost on page 11 of this application, and to see the total estimated rebate.
[9 empty] | Business | [7 empty] | Multifamily |  | Business
| Measure | Criteria1 | Incentive |  | Component Area (SF) | Total Incentive | Energy Savings (kWh/year) | Electric Cost Savings ($/year) | Energy Savings (kWh/year/ft2 component area) | Demand Savings (W/ft2 component area) | Total Energy Savings (kWh/year) | Total Demand Savings (kW) | NTG Ratio | NTG Ratio, weighted | Measure Life (years) | Measure Life (years), weighted | Energy Savings (kWh/year/ft2 component area) | Demand Savings (W/ft2 component area) | Energy Savings (kWh/year/ft2 component area) | Demand Savings (W/ft2 component area)
| Windows2 | U ≤ 0.30 and SHGC < 0.25 | 1.5 | per SF glass |  |  |  |  | 1.071 | 0.7682 | 0 | 0 | 0.85 |  | 20 |  | 0.422 | 0.4873 | 1.071 | 0.7682
|  | U ≤ 0.18 and SHGC ≤ 0.22 | 3 | per SF glass |  |  |  |  | 1.656 | 1.347 | 0 | 0 | 0.85 |  | 20 |  | 0.5745 | 0.6606 | 1.656 | 1.347
| Roof insulation3 | Insulation entirely above deck: R-35 c.i. Metal building: R-19 + R-13 Ls or R-25 + R-10 Ls Attic: R-49 | 0.16 | per SF roof |  |  |  |  | 0.0523 | 0.0514 | 0 | 0 | 0.85 |  | 20 |  | 0.0575 | 0.0653 | 0.0523 | 0.0514
| Wall insulation3 | Mass: R-20 c.i. Metal building: R-13 + R-18 c.i. Steel framed: R-13 + R-12 c.i. Wood framed: R-13 + R-8.5 c.i. or R-19 + R-6 c.i Assembly: U ≤ 0.05 | 0.03 | per SF wall |  |  |  |  | 0.0563 | 0.1719 | 0 | 0 | 0.85 |  | 30 |  | 0.0695 | 0.08735 | 0.0563 | 0.1719
0 |  |  |  |  | Total | 0 | 0 | 0 |  |  | 0 | 0 |  | 0 |  | 0
1. Building must have air conditioning and/or electric heat to qualify.
2. Windows: Required U-values are for all window orientations. Required SHGCs are for windows within 45° of west, south, or east. Listed required performance criteria are for the entire window assembly (including frame), not just center-of-glass (COG) rating. Required performance criteria must be validated by inclusion within NFRC certified product database or validated by NFRC accredited laboratory or approved calculation entity.
3. Insulation: c.i. stands for continuous insulation (i.e. no thermal breaks such as studs, rafters, etc). Ls stands for Liner System. Product rating must be met or exceeded to qualify, no partial improvement can be applied. R-value is an average across total square footage being insulated. Overall assembly R-value (including existing insulation) may be accepted on a case-by-case basis (provide assembly R-value calculations).

## 5-Food Service
Company Name:
[7 empty] | Project Number: | Not Preapproved
Business New Construction Rebate Application 21.1
Page 5 - Food Service
Instructions: Fill out the customer and general project information on page 1 of this application. See the rebate amount and product requirements at the bottom of this page to confirm product eligibility. Enter your project cost on page 11 of this application, and to see the total estimated rebate.
| Equipment Type* |  | Criteria | Incentive |  | Number of Units | Total Incentive | Energy Savings (kWh/year) | Electric Cost Savings ($/year) | Energy Savings per Unit (kWh/yr) | Demand Reduction per Unit (kW) | Total Energy Savings (kWh/yr) | Total Demand Reduction (kW) | Annual Cost Savings per Unit ($/yr) | Total Annual Cost Savings ($/yr) | NTG Ratio | NTG Ratio, Weighted | Measure Life | Measure Life, Weighted
0 | Ice Machine |  | ENERGY STAR | 200 | per unit |  |  |  |  | 1000 | 0 | 0 | 0 | 77.41 | 0 | 0.85 |  | 8
0 | Hot Food Holding Cabinet (≥ 7 ft3) |  | ENERGY STAR | 600 | per unit |  |  |  |  | 5293 | 0 | 0 | 0 | 409.7311 | 0 | 0.85 |  | 12
0 | Commercial Refrigerator or Freezer | < 19 ft3 | ENERGY STAR | 250 | per unit |  |  |  |  | 585 | 0 | 0 | 0 | 45.2849 | 0 | 0.85 |  | 12
0 |  | 19 - 30 ft3 | ENERGY STAR | 500 | per unit |  |  |  |  | 700 | 0 | 0 | 0 | 54.187 | 0 | 0.85 |  | 12
0 |  | 31 - 60 ft3 | ENERGY STAR | 750 | per unit |  |  |  |  | 900 | 0 | 0 | 0 | 69.669 | 0 | 0.85 |  | 12
0 |  | 61 - 90 ft3 | ENERGY STAR | 1000 | per unit |  |  |  |  | 1250 | 0 | 0 | 0 | 96.7625 | 0 | 0.85 |  | 12
0 | Electric Steamer |  | ENERGY STAR | 1200 | per unit |  |  |  |  | 3749 | 0 | 0 | 0 | 290.2101 | 0 | 0.85 |  | 12
0 | Electric Fryer |  | ENERGY STAR | 200 | per unit |  |  |  |  | 1179 | 0 | 0 | 0 | 91.2664 | 0 | 0.85 |  | 12
0 | Electric Griddle |  | ENERGY STAR | 600 | per unit |  |  |  |  | 1886 | 0 | 0 | 0 | 145.9953 | 0 | 0.85 |  | 12
0 | Electric Combination Oven |  | ENERGY STAR | 1200 | per unit |  |  |  |  | 6368 | 0 | 0 | 0 | 492.9469 | 0 | 0.85 |  | 12
0 | Electric Convection Oven |  | ENERGY STAR | 400 | per unit |  |  |  |  | 1870 | 0 | 0 | 0 | 144.7567 | 0 | 0.85 |  | 12
| Demand Control Kitchen Ventilation* (vent hood exhaust) |  | MAU also controlled | 400 | per hp |  |  |  |  | 3500 | 0.875 | 0 | 0 | 270.935 | 0 | 0.85 |  | 12
|  |  | MAU not controlled | 200 | per hp |  |  |  |  | 1750 | 0.4375 | 0 | 0 | 135.4675 | 0 | 0.85 |  | 12
[6 empty] | Total | 0 | 0 | 0 |  |  | 0 | 0 |  | 0 |  | 0 |  | 0
* If DCKV is required by code, no incentive is available. If DCKV is not required, system shall reduce exhaust air flow in response to appliance operation (e.g. based on temperature and/or grease sensors). If the makeup air unit is also controlled, it shall reduce the supply of replacement air based on the reduction of exhaust air. Incentive is per controlled horsepower. So, instead of entering the number of controlled fans/motors, enter the total controlled horsepower.
** For additional information on commercial kitchen efficiency options, including energy savings calculators, visit the Food Service Technology Center (FSTC) at fishnick.com

## 6-Grocery
Company Name:
[5 empty] | Project Number: | Not Preapproved
Business New Construction Rebate Application 21.1
Page 6 - Grocery
Instructions: Fill out the customer and general project information on page 1 of this application. See the rebate amount and product requirements at the bottom of this page to confirm product eligibility (rebates are only available for measures not required by current building code). Enter your project cost on page 11 of this application, and to see the total estimated rebate.
Equipment Upgrade |  | Incentive |  | Number of Units | Total Incentive | Energy Savings (kWh/year) | Electric Cost Savings ($/year) | Energy savings per unit (kWh/yr) | Total energy savings (kWh/yr) | Demand savings per unit (kW) | Total demand savings (kW) | Annual Cost savings per unit ($/yr) | Total annual cost savings ($/yr) | NTG Ratio | NTG Ratio, Weighted | Measure Life | Measure Life, Weighted
Reach-in coolers and freezers
Zero energy glass door1 |  | 125 | per door |  |  |  |  | 1439.268 | 0 | 0.1643 | 0 | 111.4137 | 0 | 0.85 |  | 12
Low energy glass door2 |  | 75 | per door |  |  |  |  | 810 | 0 | 0.1175 | 0 | 62.7021 | 0 | 0.85 |  | 12
LED case lighting4 |  | 50 | per lamp |  |  |  |  | 440 | 0 | 0.08 | 0 | 34.0604 | 0 | 0.85 |  | 12
Night covers (vertical or horizontal) |  | 20 | per ln ft case |  |  |  |  | 250 | 0 | 0 | 0 | 19.3525 | 0 | 0.85 |  | 7
Walk-in coolers and freezers
Zero energy glass door1 |  | 50 | per door |  |  |  |  | 629.268 | 0 | 0.0468 | 0 | 48.7116 | 0 | 0.85 |  | 12
LED case lighting4 |  | 100 | per lamp |  |  |  |  | 592 | 0 | 0.08 | 0 | 45.8267 | 0 | 0.85 |  | 12
Occupancy sensor for case lighting |  | 8 | per lamp |  |  |  |  | 83 | 0 |  | 0 | 6.425 | 0 | 0.85 |  | 7
Smart defrost control (freezer only)5 |  | 200 | per controller |  |  |  |  | 1500 | 0 | 0 | 0 | 116.115 | 0 | 0.85 |  | 12
Evaporator fan controls6 |  | 50 | per fan motor |  |  |  |  | 300 | 0 | 0 | 0 | 23.223 | 0 | 0.85 |  | 12
Outside air economizers7 |  | 1250 | per unit |  |  |  |  | 12500 | 0 | 0 | 0 | 967.625 | 0 | 0.85 |  | 12
|  |  |  | Total | 0 | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
1. | Triple-pane glass with either heat-reflective treated glass or gas fill and are equipped with no anti-sweat heaters. Anti-Sweat Heater Control rebate is not available with this rebate.
2. | New glass doors with an amp draw of less than 0.39 amps per door.
3. | Not used.
4. | LED fixture must be on the Design Lights Consortium (DLC) Qualified Product List (QPL) (savings assumed to be replacing a T8 case lighting).
5. | Automated controls on a system with a condensing unit of 1.5 horsepower or greater. Controls should use temperature and pressure sensors to determine when to initiate an evaporator defrost cycle. Timers are not eligible.
6. | Automated controls on an evaporator fan of 1/20 horsepower or greater. Must reduce evaporator fan runtime by at least 70% when the compressor is not running. Must automatically reduce fan speed when refrigerant is not flowing. NOTE: Savings may be significantly reduced in undersized systems.
7. | For walk-in coolers or freezers that are 1,000 cubic feet or larger. Outdoor air and exhaust dampers must close automatically for summer isolation. Must be capable of using outdoor air of less than 34° F while maintaining the set point of the cooler. Provide dimensions of the walk-in with rebate application.

## 7-Office & Appliance
Company Name:
[6 empty] | Project Number: | Not Preapproved
Business New Construction Rebate Application 21.1
Page 7 - Office Equipment & Appliances
Instructions: Fill out the customer and general project information on page 1 of this application. See the rebate amount and product requirements at the bottom of this page to confirm product eligibility. Enter your project cost on page 11 of this application, and to see the total estimated rebate.
| Equipment |  | Criteria | Incentive | Number of Units | Total Incentive | Energy Savings (kWh/year) | Electric Cost Savings ($/year) |  | kWh savings per unit | Total kWh savings | kW savings per unit | Total kW savings | Annual cost savings per unit | NTG Ratio | NTG Ratio, Weighted | Measure Life | Measure Life, Weighted
0 | Desktop/side computer |  | ENERGY STAR | 12 | [5 empty] | 50 | 0 | 0.0057078 | 0 | 3.8705 | 0.85 |  | 3
0 | Thin Client (Fort Collins only) |  | ENERGY STAR | 50 |  |  |  |  | 0 | 172 | 0 | 0.019635 | 0 | 13.3145 | 0.85 |  | 4
0 | LED undercabinet fixture |  | ENERGY STAR | 5 |  |  |  |  | 0 | 31 | 0 | 0.031 | 0 | 2.3997 | 0.85 |  | 9
0 | Advanced Power Strip1 | Tier 1 | Master/control Device | 7 |  |  |  |  | 0 | 132 | 0 | 0 | 0 | 10.2181 | 0.85 |  | 6
0 |  | Tier 2 | Motion or Schedule | 20 |  |  |  |  | 0 | 200 | 0 | 0 | 0 | 15.482 | 0.85 |  | 6
| Vending machine controls |  | Occupancy or Schedule | 90 |  |  |  |  | 0 | 900 | 0 | 0 | 0 | 69.669 | 0.85 |  | 8
| Clothes Washer2 | Residential | ENERGY STAR | 25 | [5 empty] | 187 | 0 | 0 | 0 | 14.4757 | 0.85 |  | 7
|  | Commercial Vended | ENERGY STAR | 25 | [5 empty] | 198 | 0 | 0 | 0 | 15.3272 | 0.85 |  | 7
|  | Commercial Non-Vended | ENERGY STAR | 25 | [5 empty] | 198 | 0 | 0 | 0 | 15.3272 | 0.85 |  | 7
| Dishwasher, Residential Grade2 |  | ENERGY STAR | 25 | [5 empty] | 35 | 0 | 0 | 0 | 2.7094 | 0.85 |  | 7
| Refrigerator, Residential Grade |  | ENERGY STAR | 50 | [5 empty] | 690 | 0 | 0 | 0 | 53.4129 | 0.85 |  | 12
| Ultra-Low-Temperature Freezer (T < -94°F) |  | ENERGY STAR, MDEC < 0.42 kWh/day/ft3 | 450 | [5 empty] | 4380 | 0 | 0 | 0 | 339.0558 | 0.85 |  | 12
[5 empty] | Total | 0 | 0 | 0 | 0 |  | 0 |  | 0 |  |  | 0 |  | 0
1. Verify surge protector is appropriate for equipment and appliances that will be plugged in and will protect at lower power surges.
2. Additional rebates may be available for Fort Collins Utilities water customers. See the page '9-Water' for more information.

## 8-Motor VFD's
Company Name:
[10 empty] | Project Number: | Not Preapproved
Business New Construction Rebate Application 21.1
Page 8 - Motor VFD's
Instructions: Fill out the customer and general project information on page 1 of this application. Enter your project cost on page 11 of this application, and to see the total estimated rebate.
Item # | Motor Capacity (hp) | End Use | End Use Description |  | Number of Motors | Equipment Designations | Proposed Flow Control (pulldown menu) | Annual Operating Hours | Are any for standby/ redundant? | Total Incentive | Energy Savings (kWh/year) | Electric Cost Savings ($/year) | Demand Reduction (kW) | NTG Ratio | NTG Ratio, Weighted | Measure Life | Measure Life, Weighted
1 | [13 empty] | 0.85 |  | 20
2 | [13 empty] | 0.85 |  | 20
3 | [13 empty] | 0.85 |  | 20
4 | [13 empty] | 0.85 |  | 20
5 | [13 empty] | 0.85 |  | 20
6 | [13 empty] | 0.85 |  | 20
7 | [13 empty] | 0.85 |  | 20
8 | [13 empty] | 0.85 |  | 20
9 | [13 empty] | 0.85 |  | 20
10 | [13 empty] | 0.85 |  | 20
[9 empty] | Total | 0 | 0 | 0 | 0 |  | 0 |  | 0
Motor Capacity (hp) |  | Incentive ($/hp)
Min | Max | Fan | Pump | Compressor | 1. | Incentives are not available for VFDs required by building code (IECC 2018 and/or ASHRAE 90.1-2016).
1 | 5 | 120 | 120 | 120 | 2. | Incentives are not available for VFDs on supply air fans for unitary cooling equipment (i.e. rooftop units/RTUs).
7.5 | 10 | 100 | 100 | 100
15 | 20 | 85 | 85 | 85 | 3. | Incentives are not available for VFDs on redundant or standby motors.
25 | 30 | 75 | 75 | 75 | 4. | Incentives for motors greater than 75 hp must use the custom program.
40 | 50 | 65 | 65 | 65 | 5. | Customer acknowledges that he or she has been made aware of the potential for VFDs to cause harmonic distortion on the facility's electric distribution system and that harmonic distortion can sometimes negatively impact the operation of sensitive electric equipment interconnected with the distribution system.
60 | 75 | 55 | 55 | 55
75 | + | Custom | Custom | Custom
Hidden rows below this row
City | 0
Application Lookup
Supply air
Return air
Exhaust air
Boiler draft
Chilled water
Condenser water
Heating hot water
Domestic water
Boiler feedwater
Tools (compressed air)
Process
Other (describe here)
VFD Speed Control Type Lookup
pressure (static or head)
flow
temperature
other (describe here)
Savings assumptions
VFD savings |  | 33%
Electric rate ($/kWh) |  | 0.075
Load Factor (Nexant) |  |  |  |  | Hours per year (Nexant) |  | Existing Efficiency (NEMA Premium, 1800 RPM, TEFC)
| fan | pump | compressor
1 | 0.65 | 0.75 | 0.75 |  | 1 |  | 1 | 85.5%
2 | 0.65 | 0.75 | 0.75 |  | 2 |  | 2 | 86.5%
3 | 0.65 | 0.75 | 0.75 |  | 3 |  | 3 | 89.5%
5 | 0.65 | 0.75 | 0.75 |  | 5 |  | 5 | 89.5%
7.5 | 0.65 | 0.75 | 0.75 |  | 7.5 |  | 7.5 | 91.7%
10 | 0.65 | 0.75 | 0.75 |  | 10 |  | 10 | 91.7%
15 | 0.65 | 0.75 | 0.75 |  | 15 |  | 15 | 92.4%
25 | 0.65 | 0.75 | 0.75 |  | 25 |  | 25 | 93%
30 | 0.65 | 0.75 | 0.75 |  | 30 |  | 30 | 93.6%
40 | 0.65 | 0.75 | 0.75 |  | 40 |  | 40 | 94.1%
50 | 0.65 | 0.75 | 0.75 |  | 50 |  | 50 | 94.5%
60 | 0.65 | 0.75 | 0.75 |  | 60 |  | 60 | 95%
75 | 0.65 | 0.75 | 0.75 |  | 75 |  | 75 | 95.4%
100 | 0.65 | 0.75 | 0.75 |  | 100 |  | 100 | 95.4%
125 | 0.65 | 0.75 | 0.75 |  | 125 |  | 125 | 95.4%
150 | 0.65 | 0.75 | 0.75 |  | 150 |  | 150 | 95.8%
200 | 0.65 | 0.75 | 0.75 |  | 200 |  | 200 | 96.2%

## 9-Water
Company Name:
|  |  |  | Project Number: | Not Preapproved
Business New Construction Rebate Application 21.1
Page 9 - Water (Fort Collins Water Customers Only)
Instructions: Water rebates are for water customers of Fort Collins Utilities only. Make sure "Fort Collins Utilities" is selected as the water provider on page 1. Fill out the customer and general project information on page 1 of this application. See the rebate amount and product requirements at the bottom of this page to confirm product eligibility. Enter your project cost on page 11 of this application, and to see the total estimated rebate. Water rebates are capped at $5,000 per customer per year.
Visit www.fcgov.com/utilities/business/conserve/rebates-incentives/water-efficiency for more information.
Equipment Type* | Criteria | Incentive per Unit | Number of Units | Total Incentive | Water Savings (gallons/year) | Water Cost Savings ($/year)** |  | Water Savings per Unit (gal/yr) | Total water Savings (gal/yr) | Annual Cost Savings per Unit ($/yr) | Total Annual Cost Savings ($/yr) | kWh savings per year | Therm savings per year | NTG Ratio, Electric | NTG Ratio, Weighted | Measure Life | Measure Life, Weighted, Electric
Ice Machine (select type from dropdown list) | ENERGY STAR | 100 | [5 empty] | #N/A | #N/A | #N/A | #N/A | 0 |  | 0.85 |  | 8
Electric Steamer | ENERGY STAR | 750 | [5 empty] | 162000 | 0 | 879.3036 | 0 | 0 |  | 0.85 |  | 12
Residential Clothes Washer | ENERGY STAR | 50 | [5 empty] | 4088 | 0 | 22.1888 | 0 |  |  | 0.85 |  | 7
Commercial Clothes Washer Vended | ENERGY STAR | 250 | [5 empty] | 24894 | 0 | 135.1197 | 0 |  | 0 | 0.85 |  | 7
Commercial Clothes Washer Non-Vended | ENERGY STAR | 125 | [5 empty] | 24894 | 0 | 135.1197 | 0 |  | 0 | 0.85 |  | 7
Commercial Dishwasher (select type from dropdown list) | ENERGY STAR | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0.85 |  | 10
Tank Toilet, ≤ 1.1 GPF | WaterSense | 75 | [5 empty] | 6812 | 0 | 36.9742 | 0 |  |  | N/A |  | 12
Flushvalve Toilet, ≤ 1.28 GPF | WaterSense | 100 | [5 empty] | 13052.4 | 0 | 70.8458 | 0 |  |  | N/A |  | 8
Urinal, ≤ 0.125 GPF | WaterSense | 100 | [5 empty] | 5895 | 0 | 31.9969 | 0 |  |  | N/A |  | 12
Waterless Urinal (select model from dropdown list) | Select From List | 100 | [5 empty] | 20000 | 0 | 108.556 | 0 |  |  | N/A |  | 12
Showerhead, ≤ 1.5 GPM | WaterSense | 10 | [5 empty] | 2980 | 0 | 16.1748 | 0 |  |  | N/A |  | 8
Free Sink Aerators and Pre-Rinse Spray Valves are available from Fort Collins Utilities (970-416-2877) |  |  | N/A | N/A | N/A | N/A
Contact Eric Olson for irrigation equipment rebates (970-221-6704, eolson@fcgov.com) |  |  | N/A | N/A | N/A | N/A
|  |  | Total | 0 | 0 | 0 |  | #N/A | #N/A | #N/A | #N/A | 0 | 0 |  | 0.85 |  | 0
* Rebates are available for NEW equipment only. Used or refurbished equipment does not qualify.
** Annual savings estimates are based on a simple calculation and may not accurately predict the results for your facility.
*** For additional information on water efficiency options, visit WaterSense at www.epa.gov/watersense
|  |  |  | water savings/yr | rebate / unit | kwh save / yr | therms / yr
Ice Machine (select type from dropdown list) | water savings/yr |  | Commercial Dishwasher (select type from dropdown list) | 0 | 0 | 0 | 0 |  |  |  | Waterless Urinal (select model from dropdown list)
Ice Machine, Self Contained Unit (SCU); < 175 lbs/day | 1380.138 |  | Dishwasher, Electric Heating, Door Type, High Temp | 50078 | 1000 | 14143 |  |  |  |  | Caroma 678500
Ice Machine, Self Contained Unit (SCU); ≥ 175 lbs/day | 1380.138 |  | Dishwasher, Electric Heating, Door Type, Low Temp | 68474 | 500 | 12135 |  |  |  |  | Duravit 84436
Ice Machine, Ice Making Head (IMH); < 450 lbs/day | 2525.3438 |  | Dishwasher, Electric Heating, Multi Tank Conveyor, High Temp | 122640 | 2000 | 34154 |  |  |  |  | Ecotech Water ETEU100
Ice Machine, Ice Making Head (IMH); ≥ 450 lbs/day | 1101.6248 |  | Dishwasher, Electric Heating, Multi Tank Conveyor, Low Temp | 98550 | 1000 | 17464 |  |  |  |  | Falcon F-1000
Ice Machine, Remote Condensing Unit (RCU) or Split System; < 1000 lbs/day | 5269.6875 |  | Dishwasher, Electric Heating, Single Tank Conveyor, High Temp | 62780 | 1500 | 19235 |  |  |  |  | Falcon F-2000
Ice Machine, Remote Condensing Unit (RCU) or Split System; ≥ 1000 lbs/day | 4245.2329 |  | Dishwasher, Electric Heating, Single Tank Conveyor, Low Temp | 64240 | 500 | 11384 |  |  |  |  | Falcon F-3000
|  |  | Dishwasher, Electric Heating, Under Counter, High Temp | 26828 | 500 | 7471 |  |  |  |  | Falcon F-4000
|  |  | Dishwasher, Electric Heating, Under Counter, Low Temp | 6843 | 300 | 1213 |  |  |  |  | Falcon F-5000
|  |  | Dishwasher, Natural Gas Heating, Door Type, High Temp | 50078 | 1000 | 5269 | 411 |  |  |  | Falcon F-9000SS
|  |  | Dishwasher, Natural Gas Heating, Door Type, Low Temp | 68474 | 500 | 0 | 562 |  |  |  | Kohler K-4917
|  |  | Dishwasher, Natural Gas Heating, Multi Tank Conveyor, High Temp | 122640 | 2000 | 12449 | 1007 |  |  |  | Kohler K-4918
|  |  | Dishwasher, Natural Gas Heating, Multi Tank Conveyor, Low Temp | 98550 | 1000 | 0 | 809 |  |  |  | Kohler K-4919
|  |  | Dishwasher, Natural Gas Heating, Single Tank Conveyor, High Temp | 62780 | 1000 | 8110 | 515 |  |  |  | Sloan WES-1000
|  |  | Dishwasher, Natural Gas Heating, Single Tank Conveyor, Low Temp | 64240 | 500 | 0 | 527 |  |  |  | Sloan WES-2000
|  |  | Dishwasher, Natural Gas Heating, Under Counter, High Temp | 26828 | 500 | 2717 | 220 |  |  |  | Sloan WES-3000
|  |  | Dishwasher, Natural Gas Heating, Under Counter, Low Temp | 6843 | 250 | 0 | 56 |  |  |  | Sloan WES-4000
Sloan WES-5000
Waterless 2003/2003B
Waterless 2004/2004B
Waterless 2101
Waterless 2102
Waterless 2103
Waterless 2901
Waterless 2902
Zero Flush ZF-101
Zero Flush ZF-102
Zero Flush ZF-103
Zurn Z5795
Zurn Z5796

## 10-Custom
Company Name:
[13 empty] | Project Number: | Not Preapproved
Business New Construction Rebate Application 21.1
Page 10 - Custom
Instructions: Custom rebates are now available on our website, click the button to the right to apply for a custom energy, demand, and/or water rebate. If you need assistance, call us at 970-229-4823. | [9 empty] | Apply for custom rebate
Instructions: Fill out the customer and general project information on page 1 of this application. Describe your custom efficiency project(s) below, and provide supporting calculations/documentation of the energy/demand/water savings entered below. This should include assumptions, methods, forumulas, and units clearly labeled. For complex projects, please provide a narrative describing the change, including the existing/baseline conditions. Contact Efficiency Works if you have questions or need assistance documenting potential energy savings. Enter your project cost on page 11 of this application, and to see the total estimated rebate.
Efficiency Measure Description
In this section, please describe the scope of the project in summary form, including the following: a description of each proposed measure, the affected system(s), the affected facility(ies), what activities will be performed by the Participant, and the estimated energy and demand savings. Add as many additional lines or attach additional sheets as necessary.
Determine the Incentive Based on Project Savings and Project Implementation Cost
Please complete the table below for each measure to be performed under the project. Cells in gray are calculated automatically. The "Measure Number" and "Proposed Measures" columns reference information page 6. The following program rules must be considered when estimating savings and incentives:
1. | The Nominal Incentive is the greater of the following three custom incentives.
| a. | The Energy Incentive is $0.10 per annual kWh saved.
| b. | The Demand Incentive is $500 per kW saved during the Summer Peak Period (Monday through Friday, 3 to 6 p.m., June through August). The demand savings must be the hour-average demand savings that would be measured with a power meter. Therefore, the estimate should take into account the actual use of the affected equipment (e.g., duty cycle during, on/off cycling or other forms of capacity modulation, etc.).
| b. | The Water Incentive is $5,000 per acre-foot saved (Fort Collins Utilities water customers only). One acre-foot is equivalent to 325,851 gallons.
2. | The Actual Incentive is the lesser of the Nominal Incentive and the two following incentive caps:
| a. | 75% of project cost: The total project incentive shall not be greater than 75% of the total cost to implement the project.
| b. | One-year simple payback period: The total energy project incentive shall not be greater than that which reduces the simple payback period of the project to one year.
3. | Projects may not qualify if the simple payback is greater than 15 years or longer than the product's expected life.
New Construction Lighting
Instructions: See new construction/major renovation project conditions on Page 1 of this application (General Info). Use the information from your project's interior lighting COMCheck in the calculator below (exterior lighting is not eligible for incentives). Also supply a lighting schedule, and confirm that all fixtures are either DLC or EnergyStar listed. To qualify for rebates, the lighting design must beat code by at least 10%.
[8 empty] | Baseline Condition |  | Upgraded Lighting
Area Category |  |  |  | Floor Area (square feet) | Allowed Watts | Annual Hours | Designed Watts | Coincident Peak Demand (kW) | Annual Electricity Usage (kWh) | Coincident Peak Demand (kW) | Annual Electricity Usage (kWh) |  |  |  |  | Allowed LPD | Designed LPD | Peak Coincidence
#N/A
[7 empty] | TOTAL: | 0 | 0 | 0 | 0
Measure Number |  | Proposed Measure |  |  | Baseline Condition |  |  | After Efficiency Upgrade |  |  | Coincident Peak Demand Reduction (kW) | Annual Electricity Savings (kWh) | Annual Water Savings (acre-feet) | Annual Cost Savings ($) | Measure Incremental Cost ($)
[5 empty] | Coincident Peak Demand (kW) | Annual Electricity Usage (kWh) | Annual Water Usage (acre-feet) | Coincident Peak Demand (kW) | Annual Electricity Usage (kWh) | Annual Water Usage (acre-feet) | [5 empty] | NTG Ratio | NTG Ratio, Weighted | Measure Life | Measure Life, Weighted | Water Savings (gal/year)
1 | [10 empty] | 0 | 0 | 0 |  |  | 0.85 |  | 15 |  | 0
2 | [10 empty] | 0 | 0 | 0 |  |  | 0.85 |  | 15 |  | 0
3 | [10 empty] | 0 | 0 | 0 |  |  | 0.85 |  | 15 |  | 0
4 | [10 empty] | 0 | 0 | 0 |  |  | 0.85 |  | 15 |  | 0
5 | [10 empty] | 0 | 0 | 0 |  |  | 0.85 |  | 15 |  | 0
6 | [10 empty] | 0 | 0 | 0 |  |  | 0.85 |  | 15 |  | 0
7 | [10 empty] | 0 | 0 | 0 |  |  | 0.85 |  | 15 |  | 0
8 |  | New Construction Lighting |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0.85 |  | 15 |  | 0
TOTALS |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0
Demand Incentive ($500/kW) |  |  |  | 0
Energy Incentive ($0.10/(kWh/yr)) |  |  |  | 0
Water Incentive ($5,000/Ac ft/yr) |  |  |  | 0
Nominal Incentive |  |  |  | 0
Incentive caps:
75% of project cost |  |  |  | 0
One-year simple payback cost |  |  |  | 0
ACTUAL INCENTIVE: |  |  |  | 0
Category |  |  | Incentive |  |  |  | Criteria
Energy |  |  | 0.1 | per kWh/year saved |  |  | Must save a minimum of 1,000 kWh/year
Demand |  |  | 500 | per kW saved |  |  | During summer peak period (weekdays, June-August, 3pm-6pm), discounted for equipment duty cycles and any other factor reducing consistent coincident peak demand savings
Water |  |  | 10 | per 1,000 gallons/year saved |  |  | Fort Collins Utilities water customers only
*The custom rebate is the greater of the energy, demand, and water rebate. Caps are 75% of project cost and a one year simple payback (whichever is less). Projects may not qualify if the simple payback is greater than 15 years or longer than the product's expected life
ASHRAE 90.1 - 2013 Table 9.5.1 Lighting Power Densities Using the Building Area Method
|  |  |  | Building Area Typea | LPD (W/ft2) | Summer Peak Coincidence
|  |  |  | Automotive Facility | 0.8 | 0.75
|  |  |  | Convention Center | 1.01 | 0.5
|  |  |  | Court House | 1.01 | 0.5
|  |  |  | Dining: Bar Lounge/Leisure | 1.01 | 1
|  |  |  | Dining: Cafeteria/Fast Food | 0.9 | 1
|  |  |  | Dining: Family | 0.95 | 1
|  |  |  | Dormitory | 0.57 | 0.1
|  |  |  | Exercise Center | 0.84 | 1
|  |  |  | Fire Station | 0.671 | 1
|  |  |  | Gymnasium | 0.94 | 0
|  |  |  | Health Care-Clinic | 0.9 | 0.75
|  |  |  | Hospital | 1.05 | 1
|  |  |  | Hotel | 0.87 | 0.1
|  |  |  | Library | 1.19 | 0.75
|  |  |  | Manufacturing Facility | 1.17 | 1
|  |  |  | Motel | 0.87 | 0.1
|  |  |  | Motion Picture Theater | 0.76 | 0
|  |  |  | Multifamily | 0.51 | 0.1
|  |  |  | Museum | 1.02 | 0.75
|  |  |  | Office | 0.82 | 0.75
|  |  |  | Penitentiary | 0.81 | 1
|  |  |  | Performing Arts Theater | 1.39 | 0.3
|  |  |  | Police Station | 0.87 | 1
|  |  |  | Post Office | 0.87 | 0.5
|  |  |  | Religious Building | 1 | 0.25
|  |  |  | Retail | 1.26 | 1
|  |  |  | School (K-12) | 0.87 | 0
|  |  |  | Stairways | 1 | 1
|  |  |  | Sports Arena | 0.91 | 0.6
|  |  |  | Town Hall | 0.89 | 0.75
|  |  |  | Transportation | 0.7 | 0.5
|  |  |  | University | 0.87 | 1
|  |  |  | Warehouse | 0.66 | 1
|  |  |  | Workshop | 1.19 | 0.75
An additional cap of $50,000 per customer, per year may also be applied to ensure the program budget is distributed among several customers and to reduce risk that a significant portion of the program's funds fail to be used if the project is not completed. This cap may be waived at Platte River's discretion, pending availability of funds. Contact Platte River Energy Services for more information.
An additional cap of $50,000 per customer, per year may also be applied to ensure the program budget is distributed among several customers and to reduce risk that a significant portion of the program's funds fail to be used if the project is not completed. This cap may be waived at Platte River's or Fort Collins Utilities' discretion, pending availability of funds. Contact Platte River Energy Services or your utility rep for more information.

## 11-Rebate Summary
Company Name:
|  |  |  | Project Number: | Not Preapproved
Business New Construction Rebate Application 21.1
Page 11 - Rebate Summary
Instructions: In the fields below, for each category of measure, enter an estimate for the incremental cost to upgrade from a 'code minimum' design to the efficient design submitted herein. A best estimate by the designer for that system is sufficient, and can include the increased cost of materials, labor, design fees, etc. The final estimated rebate for this project will calculate below.
Measure | Incremental Cost | Annual Electricity or Water Savings (kWh/yr) or (gal/yr)* | Annual Electric or Water Cost Savings ($/yr)* |  | Potential Rebate
Lighting |  | 0 | 0 |  | 0
Cooling |  | 0 | 0 |  | 0
Envelope |  | 0 | 0 | 0 | 0
Food Service |  | 0 | 0 | 0 | 0
Grocery |  | 0 | 0 | 0 | 0
Office and Appliance |  | 0 | 0 | 0 | 0
Motor VFDs |  | 0 | 0 | 0 | 0
Water (gallons) |  | 0 | 0 | 0 | 0
Custom |  | 0 | 0 |  | 0
TOTALS | 0 | 0 | 0 |  | 0
|  | Potential LED Lighting New Fixture Bonus** |  |  | 0
| Hide this row | Potential Rebate (Normal) |  |  | 0
|  | Energy Outreach Colorado Bonus |  |  | 0
| Hide this row | Potential Rebate (EOC) |  |  | 0
| Hide this row | Rebate without caps |  |  | 0
| Hide this row | Rebate with 100% of project cost cap |  |  | 0
| Hide this row | Rebate with city cap |  |  | 0
| Hide this row | Rebate without city cap |  |  | 0
| Hide this row | Amount over cap(s) |  |  | 0
|  |  |  | Total estimated rebate | 0
|  |  |  | Total cost after incentive | 0
|  |  |  | Simple Payback of All Projects (years) | 0
* Electricity, water, and cost savings are estimates for reference only. They may not predict savings for your project.
Rebate Caps
Each customer may be limited by an annual cap. The cap may be waived at the discretion of Efficiency Works, depending on funding availability. Additional requirements may apply. Contact Efficiency Works for more information.
Current rebate caps are:
- 75% of total project cost for custom projects, 100% of project cost for all other projects
- $5,000 per customer per year for water rebates
- $50,000 per customer site per year
- $100,000 per customer per year (across multiple sites/campuses)
For example, a single building site may not exceed $50,000 per year in rebates. A customer with multiple sites/buildings can receive up to $50,000 per building/site, but not more than $100,000 across all buildings/sites.
#REF!
Note on J12: Rebates will calcuate once Installed Cost is entered and required fields on Page 1.
Note on J30: hawleya: Double check that this is calculating what you want. It caps rebates at 75% of project cost less any previous rebates at that site for projects with total project cost of >67k. Any project less than 67k is capped at 75% of project cost above $50k less any previous rebates at that site.

## 12-Request for Payment
|  |  | Project Number: | Not Preapproved
Company Name:
Business Retrofit Rebate Application 20.5
|  |  | Rebate: | 0
Page 12 - Request for Payment
Instructions: Upon completion of the project, submit the following to request rebate payment:
(1) Rebate application (2) Project invoices (if the incentive payment recipient is not the customer, the incentive amount must be shown deducted from the project cost) (3) IRS form W-9 for the payee (call us if this includes a Social Security Number) (4) These Terms & Conditions, signed by the Participant
Terms and Conditions
Continued on next page Page 1 of 2
|  |  | Project Number: | Not Preapproved
Company Name:
Business Retrofit Rebate Application 20.5
|  |  | Rebate: | 0
Terms and Conditions (continued from previous page)
Participant Agreement
I have read, understood, agree and possess the authority to execute this Request for Payment Form in relation to the terms and conditions listed above. This section to be completed by the customer.
| Participant Signature | Date
| Name | Phone
Title
Company Name
Mailing Address
City, State, and Zip
OPTIONAL - Authorization to Pay an Alternate Recipient
I authorize Efficiency Works to make the incentive payment to the identified party below. This section to be completed by the participant.
| Participant Signature | Date
Name
Alternate Payment Recipient
| Contact Person | Phone
Title
Company Name
Mailing Address
City, State, and Zip
Page 2 of 2
Participant acknowledges that the Efficiency Works program (“Program”) is a partnership between Platte River Power Authority (“Platte River”) and its owner communities of the Town of Estes Park, the City of Fort Collins, the City of Longmont and the City of Loveland (the “Owner Communities”). Platte River manages the Program. By participating in the Program, you acknowledge and agree that your customer data may be shared among the Owner Communities and third-party Program implementors for a variety of purposes. Customer data may include, but is not limited to, name, address, contact information, account number, utility usage data as well as details regarding your participation in the Program or other programs and services offered by Platte River or the Owner Communities. These details may include, but are not limited to, audit results, rebate amounts, and products purchased related to participation. Purposes for which your customer data may be shared or used include, but are not limited to, determining your eligibility for the Program, Program administration, marketing, quality control, providing you with products or services you request, offering you products or services that may be of interest to you, or analyzing your utility usage. Platte River and the Owner Communities may not have control over your customer data and cannot guarantee that it will remain confidential. You acknowledge that you are the owner of the property receiving Program services, or are otherwise eligible to receive Program services, and that you are authorized to consent to the disclosure of the data as specified in this form.
1. The undersigned (Participant) hereby certifies that this project has been completed to his or her satisfaction, and that this application accurately portrays the project. In particular, the equipment is operational; the application accurately describes the existing and new equipment; all equipment quantities are correct; and the attached invoices accurately reflect the project costs.
2. Upon Platte River’s request and reasonable notice, Platte River representatives will be given access to the project site so they may verify equipment installation, characteristics, quantities, and performance.
3. Participant shall reimburse Platte River a pro-rated portion of the incentive should Platte River find, in its sole discretion, that the project has been altered in such a way that its energy savings are reduced. Pro-rating shall be done based on the reduction in energy savings and the incentive rates originally used to determine the incentive. This reimbursement obligation shall remain in effect for two years following the date of this Request for Payment. If the Participant feels that the Project scope needs to be changed in order to maintain adequate system performance, such changes should be made and included in an updated application before submitting this Request for Payment.
4. Platte River and its Owner Municipalities reserve the right to claim and own any environmental attribute credits (“Credits”) resulting from the contractors’ projects receiving a benefit or cash incentive from Platte River and/or its Owner Municipalities. Credits include any credits, credit certificates, efficiency credits, white tags, carbon or greenhouse gas credits, offsets, or allowances, and environmental air quality credits, offsets, allowances. Credits do not include any state tax credits, Investment Tax Credits, and any other tax credits or tax benefits that are or will be generated by or related to the Project.
5. Incentives are based on the projected energy savings or wattage reduction and the estimated installation costs of the project, which may be found by Platte River, in its sole discretion, to be different from the values shown in the application. If this occurs, Platte River will provide notification of the difference and give the Participant, contractor, or vendor the opportunity to ask for a review of the findings or to remedy the discrepancy before adjusting the incentive.
6. Platte River does not guarantee the estimated energy or cost savings. Platte River makes no warranties for materials provided by or work performed by Participant’s contractors, vendors, consultants, or Participant’s own employees. Platte River is not responsible for errors in or misrepresentations of the incentive amount by contractors, consultants, or vendors.
7. Participant is responsible for securing any permits for work funded through this program as required by local codes. Participant shall comply with all applicable federal, state, and local regulations, ordinances, and statutes.
8. Participant agrees to ensure that potentially hazardous or regulated wastes (e.g., PCB-containing ballasts, fluorescent lamps, high-intensity discharge lamps, etc.) are handled and disposed of in compliance with applicable federal, state, and local laws and regulations.
9. In consideration of receiving the incentives stated herein, Participant shall indemnify, protect, defend, and hold harmless, Platte River, its board members, directors, officers, employees, partners, principals, contractors, agents, and representatives, from and against any and all claims, costs, damages, demands, expenses, fines, judgments, liabilities, losses, penalties, and remedial actions of any kind, including but not limited to, reasonable attorneys' fees and the costs of defense arising, directly or indirectly, in whole or in part, out of Participant participation in the Program, the performance of the measures, or the provision of assistance and incentives by Platte River related to the Program.
10. Payments provided by utilities (including Platte River) to Participants for the purchase or installation of energy conservation measures may in some circumstances be considered as (partially) taxable income by the IRS. Participants or their assigns receiving incentive payments totaling $600 or more during a program year and who are not organized as a corporation will receive a 1099-MISC from Platte River in January or February of the subsequent year. Participant, or alternate payment recipient, may wish to consult a tax advisor on this matter.
11. In compliance with C.R.S. §24-76.5-101, et seq., as amended, Platte River will require Participants who are individuals or sole proprietors (i.e., not corporations or partnerships) applying for incentives to prove their lawful presence in the United States. To do so, the Participant will be required to provide identification set forth in C.R.S. §24-76.5-103(4), as amended, in addition to a signed affidavit indicating his or her lawful presence. Platte River cannot provide an incentive to a Participant who is unwilling or unable to meet this requirement.
12. Incentive funds will be reserved for no more than 45 days beyond the estimated completion date listed in this application and no more than 45 days beyond building occupancy for new construction/major renovation projects (specified on page 1). Participant shall notify Platte River immediately if completion of the project is expected to be delayed beyond this time. Platte River will seek to provide funds for projects that are delayed, provided such funds are available, but is under no obligation to do so.
13. Small changes in the project scope are expected and do not require any action until the project is completed. However, if anything changes that will significantly affect the total incentive amount (more than 10%), you should contact Platte River for approval. Incentive amounts will not be increased simply because existing fixtures were found to have higher wattage or new fixtures were determined to have lower wattage than listed in the approved application, unless such changes also result in changes in the project scope and/or cost (e.g. PCB ballast recycling costs, more fixtures retrofitted or replaced, etc). If you are unsure how changes in your project might affect your incentive, contact Platte River for assistance.
14. Participant shall require that all parties, contractors, or subcontractors implementing the proposals and / or installing the Measures that are the subject to this Agreement maintain comprehensive general liability insurance in amounts not less than $500,000 each person / $1,000,000 each occurrence for bodily injury, and $500,000 each occurrence / $1,000,000 in aggregate for property damage. If the Participant is implementing the proposals and / or installing the Measures, the Participant shall maintain insurance in the amounts specified herein.
15. Platte River shall in no way be responsible for delivery of any applications, rebates, payment, loans or otherwise to the Participant through other rebate programs (i.e Boulder County EnergySmart, Xcel Energy, etc).
16. Participant agrees to receive future correspondence via information listed in this rebate application regarding program offerings.
17. To be eligible for electric incentives the project site must be a commercial electric customer of Estes Park Power & Communications, Fort Collins Utilities, Longmont Power & Communications, or Loveland Water and Power. For water incentives, the customer must be a water customer of Fort Collins, Longmont, or Loveland.